## Slide 1: 2D-DET gels for porewater imaging of mineralization-related solutes at high spatial resolution in mangroves
Edouard Metzger, Aurélia Mouret, João Barreira, Matheus Cavalcante, Wilson Machado, Pierre Gaudin, Cleuza Beatriz Trevisan, Murilo Kurita, Christiene Matos, Alexandre Mantrant and Gwenaël Abril
TROPECOS Project

## Slide 2
Water
Sediment
O2
O2
O2
NO3-
MnO2
Fe(OH)3
SO42-
OM
z
Oxic zone
Suboxic zone
Anoxic zone
few cms
Fe2+
Mn2+
HS-
NO3-
PO43-
O2
O2
Redox zones and microenvironments in sediments
Development of in situ, high-resolution methods:
1 dimension:
- microelectrodes, 50-100 µm
1D DET, mm
(diffusive equilibration in thin films )
1D DGT, mm
(diffusive gradients in thin films)
2 dimensions:
- 2D DGT, 100 µm
- planar optodes, µm
- 2D DET, µm to mm
Microheterogeneities:
bioturbation/bioirrigation
OM patches
production/consumption of solutes by roots, burrows

## Slide 3: 2D-DET
Diffusive Equilibrium in Thin film (DET)
Davison et al., Nature, 1991
In situ sampling with a hydrogel probe  diffusional equilibrium with porewater solutes
Representativeness of porewater composition on a short time (4-5h)
a
Polyacrylamide gel
0.2 mm pvdf membrane
165 mm
80 mm
3 mm

## Slide 4: 2D-DET + colorimetry
Jézéquel et al., Estuarine, Coastal & Shelf Science, 2007
Colorimetric methods: reliable, specific, highly sensitive
« probe gel » equilibrated with porewater solutes within the sediment
« reagent gel » equilibrated with a solution of a colorimetric reagent
 Acquisition of a picture with a flatbed scanner
Superposition of a probe gel and a reagent gel  rapid appearance of coloration
Reaction time < 5 min
Dissolved Fe
S(-II) by DGT-like tape

## Slide 5: 2D-DET + colorimetry + hyperspectral imagery
Probe gel
Reagent gel for Fe
Reagent gel for DRP
gels
Hyperspectral camera
Cesbron et al., Environmental Science & Technology, 2014
Simultaneous Fe and DRP
Spectral resolution: 4.5 nm

## Slide 6: 2D-DET + colorimetry + hyperspectral imagery
Fe
0 µM
200 µM
DRP
0 µM
30 µM
Cesbron et al., ES&T, 2014
Reflectance
Wavelength (nm)
Fe
Simultaneous Fe and DRP
False color composite image (unmixing method)
DRP

## Slide 7: 2D-DET + … + 2D modeling of production rates and fluxes
Thibault de Chanvalon et al., Marine Chemistry, 2017
quantification of Fe production/consumption rates
Decomposition of OM by Fe-oxide reduction:
(CH20)(NH3)X(PO4)Y + 2Fe2O3 + 8H+  CO2 + xNH3 + yH3PO4 + 5H2O + 4Fe2+
Fe-oxide formation with potential OM adsorption, co-precipitation, or aggregation :
Fe2+ + 0.5O2 + H2O  0.5Fe2O3 + 2H+
Fe2+ + 0.2HNO3  Fe(OOH) + N2 + 2H+
Fe2+ + 0.5MnO2 + 0.5H2O  0.5Fe2O3 + 0.5Mn2+ + H+
 evaluation of OM remineralisation/preservation and CO2 production rate

## Slide 8: Developments of other colorimetric 2D-DET methods
Iron
Phosphate
Manganese
Nitrite/nitrate
Ammonium
Alcalinity
Jézéquel et al., 2007; Cesbron et al., 2014
Metzger et al., 2016
Pagès et al., 2011; Cesbron et al., 2014
Metzger et al., 2019
Mouret et al., 2024
Bennett et al., 2015
Siderophores
Le Houedec et al., 2024
pH
Barreira et al., in prep.
Sulfide
Kankanamge et al., 2020

## Slide 9: Example from mangroves sampled by the TROPECOS project
Marapanim, Northern Brazil, winter 2025
Sediment slice
Young Rhizophora

## Slide 10: Autumn School BIOGEO 2D
17-21 Nov. 2025
and next year!
Supported by FaircarboN

## Slide 11: Thank you for your attention!